## samples
Well | Description | Sequence | Sample_Number | Replicate_Number | Sample_Type | 6560_Method | Plate_Type | Column_Type | Notes
MAT3 | Tune | Positive | 1 | 1 | TUNE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Tuning mix injection
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
B9 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation, no spermine treatment.
D4 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Baseline growth with no supplementation or treatment.
F10 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation and spermine treatment.
A5 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation and spermine treatment.
B12 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Baseline growth with no supplementation or treatment.
D8 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation and spermine treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
E6 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Baseline growth with no supplementation or treatment.
C3 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Baseline growth with no supplementation or treatment.
H8 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation and spermine treatment.
G8 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation and spermine treatment.
G12 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation, no spermine treatment.
C12 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation and spermine treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
C10 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation, no spermine treatment.
H1 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Baseline growth with no supplementation or treatment.
A9 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation and spermine treatment.
B11 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation, no spermine treatment.
F3 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation and spermine treatment.
D10 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation, no spermine treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
D2 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with spermine treatment, no supplementation.
E4 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation, no spermine treatment.
H3 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation and spermine treatment.
A11 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation and spermine treatment.
G3 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with spermine treatment, no supplementation.
E5 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation and spermine treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT3 | Tune | Positive | 1 | 1 | TUNE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Tuning mix injection
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
B1 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation, no spermine treatment.
G11 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation and spermine treatment.
B3 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation, no spermine treatment.
F7 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Baseline growth with no supplementation or treatment.
G6 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation, no spermine treatment.
H2 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation, no spermine treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
F6 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation, no spermine treatment.
F8 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with spermine treatment, no supplementation.
D1 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation and spermine treatment.
B2 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation and spermine treatment.
C11 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation and spermine treatment.
F1 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with spermine treatment, no supplementation.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
C2 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation and spermine treatment.
B6 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation and spermine treatment.
D5 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Baseline growth with no supplementation or treatment.
H10 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation, no spermine treatment.
D9 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation, no spermine treatment.
H5 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with spermine treatment, no supplementation.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
G4 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation and spermine treatment.
F2 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation, no spermine treatment.
B10 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with spermine treatment, no supplementation.
H4 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation, no spermine treatment.
D12 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation and spermine treatment.
E3 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation, no spermine treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT3 | Tune | Positive | 1 | 1 | TUNE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Tuning mix injection
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
G2 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Baseline growth with no supplementation or treatment.
H9 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation, no spermine treatment.
E9 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation and spermine treatment.
C9 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with spermine treatment, no supplementation.
C5 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation, no spermine treatment.
E1 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation and spermine treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
H12 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation, no spermine treatment.
A7 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation and spermine treatment.
G5 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation, no spermine treatment.
A4 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation, no spermine treatment.
G9 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation and spermine treatment.
A12 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with spermine treatment, no supplementation.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
D7 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation, no spermine treatment.
F5 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation, no spermine treatment.
B8 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation, no spermine treatment.
E7 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with spermine treatment, no supplementation.
H7 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation and spermine treatment.
E10 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation and spermine treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
F11 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Baseline growth with no supplementation or treatment.
G7 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation and spermine treatment.
C1 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation, no spermine treatment.
D6 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation and spermine treatment.
C6 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with spermine treatment, no supplementation.
A8 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Baseline growth with no supplementation or treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT3 | Tune | Positive | 1 | 1 | TUNE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Tuning mix injection
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
C7 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation, no spermine treatment.
B4 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation and spermine treatment.
A3 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation, no spermine treatment.
E8 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation, no spermine treatment.
A6 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation and spermine treatment.
E11 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with low glutamate supplementation, no spermine treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
F12 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with high glutamate supplementation and spermine treatment.
A1 | Sample | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Growth with alanine supplementation, no spermine treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | QC
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Blank
WASH1 | Blank | Positive | 1 | 1 | WASH | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Acqeous Wash
WASH2 | Blank | Positive | 1 | 1 | WASH | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Organic Wash
WASH1 | Blank | Positive | 1 | 1 | WASH | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Acqeous Wash
WASH2 | Blank | Positive | 1 | 1 | WASH | 2024-10-10_AminoAcids_test_1_Pos.m | P96 | HILIC_241126 | Organic Wash

## rf_params
Parameter | Value
PlateHeight | 0
WashBetweenSips | 0
NumFlushAfterPlates | 0
StandByAfterRun | 0
UsePlateHandler | 0
UseBcodeScanner | 0
MSStandbyAfterRun | 0
Pump1FlowRate | 1.25
Pump2FlowRate | 0.01
Pump3FlowRate | 1.25
Pump1MinPressure | -1
Pump2MinPressure | -1
Pump3MinPressure | -1
Pump1MaxPressure | -1
Pump2MaxPressure | -1
Pump3MaxPressure | -1
Pump4RPM | -1
Pump1Composition | 100 | 0 | 0
Pump2Composition | 100 | 0 | 0
Pump3Composition | 100 | 0 | 0
Pump1Active | 0
Pump2Active | 0
Pump3Active | 0
Pump4Active | 0
NumBlankInj | 0
PlateConfig | 96_Deep_Plate
MissedSipTol | 10000
CycleNames | Aspirate | Load/Wash | Extra Wash | Elute | Reequilibrate
CycleDurations | 600 | 3000 | 0 | 3000 | 500

## data_analysis
Parameter | Value | Description
tuneIons_file | D:\gkreder\autonoms\transition_lists\agilentTuneRestrictedDeimos_transitionList.csv | CSV file containing m/z and CCS values for target ions to perform CCS calibration. Must contain columns "Precursor Charge (e.g. 1 or -1)", "Precorsor m/z", and "CCS"
sky_imsdb_file | D:\gkreder\autonoms\skyline_documents\ymdb.imsdb | Skyline file containing ion mobility database (built in and exported from Skyline GUI)
sky_document_file | D:\gkreder\autonoms\skyline_documents\ymdb_IMres30.sky | Skyline document template for performing analysis (built in and exported from Skyline GUI)
transition_list_file | D:\gkreder\autonoms\transition_lists\ymdb_transition_list.csv | Skyline input transition list
sky_report_file | D:\gkreder\autonoms\report_templates\MoleculeReportShort.skyr | Skyline output molecule report template (built in and exported from Skyline GUI)