## samples
Well | Description | Sequence | Sample_Number | Replicate_Number | Sample_Type | 6560_Method | Plate_Type | Column_Type | Notes
MAT3 | Tune | Positive | 1 | 1 | TUNE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Tuning mix injection
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
F10 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
B8 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
B11 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
C10 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
G1 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
E8 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
A12 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
F3 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
A2 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
G12 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
C11 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
C5 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
E11 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
E6 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
B9 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
F5 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
C4 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
G9 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
G5 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
D5 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
C8 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
B1 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
F9 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
D12 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | QC | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | QC | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT3 | Tune | Positive | 1 | 1 | TUNE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Tuning mix injection
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
A8 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
G8 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
G4 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
G3 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
A5 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
D10 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
F8 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
H7 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
D11 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
E4 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
A11 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
H8 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
A4 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
D9 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
A1 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
G7 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
H11 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
G10 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
E7 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
E12 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
F1 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
B2 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
E2 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
E1 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | QC | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | QC | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT3 | Tune | Positive | 1 | 1 | TUNE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Tuning mix injection
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
C6 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
C9 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
D2 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
G2 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
H2 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
F6 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
H6 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
E5 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
F12 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
D1 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
H4 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
B3 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
C7 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
C3 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
H12 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
H3 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
F11 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
F4 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
H9 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
E10 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
B6 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation with lactic acid treatment.
A3 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
D6 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
D7 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | QC | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | QC | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT3 | Tune | Positive | 1 | 1 | TUNE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Tuning mix injection
WASH1 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | Wash | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
MAT1 | Blank | Positive | 1 | 1 | BLANK | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Blank
A10 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Lactic acid treatment without proline supplementation.
B4 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
B7 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Low proline supplementation without lactic acid treatment.
D3 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Control group with no supplementation or treatment.
C1 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation without lactic acid treatment.
B12 | Sample | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | High proline supplementation with lactic acid treatment.
MAT2 | QC | Positive | 1 | 1 | SAMPLE | 2023-03-02_dodd_4Bit_POS.m | P384 | C | QC
WASH1 | QC | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | QC | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash
WASH1 | QC | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Acqeous Wash
WASH2 | QC | Positive | 1 | 1 | WASH | 2023-03-02_dodd_4Bit_POS.m | P384 | C | Organic Wash

## rf_params
Parameter | Value
PlateHeight | 0
WashBetweenSips | 0
NumFlushAfterPlates | 0
StandByAfterRun | 0
UsePlateHandler | 0
UseBcodeScanner | 0
MSStandbyAfterRun | 0
Pump1FlowRate | 1.25
Pump2FlowRate | 0.01
Pump3FlowRate | 0.01
Pump1MinPressure | -1
Pump2MinPressure | -1
Pump3MinPressure | -1
Pump1MaxPressure | -1
Pump2MaxPressure | -1
Pump3MaxPressure | -1
Pump4RPM | -1
Pump1Composition | 50 | 50 | 0
Pump2Composition | 100 | 0 | 0
Pump3Composition | 100 | 0 | 0
Pump1Active | 0
Pump2Active | 0
Pump3Active | 0
Pump4Active | 0
NumBlankInj | 0
PlateConfig | 384_Standard_Plate
MissedSipTol | 10000
CycleNames | Aspirate | Load/Wash | Extra Wash | Elute | Reequilibrate
CycleDurations | 600 | 1500 | 0 | 0 | 0

## data_analysis
Parameter | Value | Description
tuneIons_file | D:\gkreder\autonoms\transition_lists\agilentTuneRestrictedDeimos_transitionList.csv | CSV file containing m/z and CCS values for target ions to perform CCS calibration. Must contain columns "Precursor Charge (e.g. 1 or -1)", "Precorsor m/z", and "CCS"
sky_imsdb_file | D:\gkreder\autonoms\skyline_documents\ymdb.imsdb | Skyline file containing ion mobility database (built in and exported from Skyline GUI)
sky_document_file | D:\gkreder\autonoms\skyline_documents\ymdb_IMres30.sky | Skyline document template for performing analysis (built in and exported from Skyline GUI)
transition_list_file | D:\gkreder\autonoms\transition_lists\ymdb_transition_list.csv | Skyline input transition list
sky_report_file | D:\gkreder\autonoms\report_templates\MoleculeReportShort.skyr | Skyline output molecule report template (built in and exported from Skyline GUI)